REPLY TO

ATTENTION OF

DEPARTMENT OF THE ARMY

# 603D Aviation Support Battalion

# Camp Taji, Iraq APO AE 09378

AFZP-VSB-HSC								 18 MAR 05

MEMORANDUM FOR RECORD

SUBJECT: External Standard Operating Procedures (SOP) for Reverse Osmosis Water Purification Unit (ROWPU).

1.  PURPOSE: This SOP provides guidelines for the operation of the ROWPU.  To ensure that the 603D ASB Water Treatment Section are following the proper procedures for the production and issuing of potable water and testing of treated and untreated water.

2.  REFERENCES:  TB MED 577 (1 MAY 99), FM 10-52, FM 10-52-1, TM 10-4610-241-10, and 49 CFR latest issue.

3.  SITE LAYOUT:  The setting up of the water point may vary because of the water source, the space availability, the type of equipment used, and the capability of the units equipment.  However, the choosing and prepping of a site should follow the guidelines in FM 10-52-1 CH. 2, CH. 3, and TB MED 577 (1 MAY 99) CH. 3 PAR. 3-6 and 3-7.

4.  OPERATIONS:  The operations of the 600 GPH ROWPU may change depending on the mission.  However, the general setup and purification process stays the same as outlined in TM 10-4610-241-10.

5.  WATER QUALITY:  The water quality through Reverse Osmosis (RO) process is governed by TB MED 577 (1 MAY 99) and 91S (Preventive Medicine Specialist) in the Theater of Operations (TO).  If there is no 91S’s in the TO the senior 92W (Water Treatment Specialist) will certify the potability of the water.  FM 10-52 CH. 1 PAGE 1-3.

6.  CUSTOMER REQUIREMENT:  The 92W are responsible for the quality and chlorine content of the water  up until the water leaves the distribution point.  The customers are required to maintain the quality and the chlorine content in their containers.

All mobile potable water containers must follow these guidelines before potable water can be issued in them.

a.  The words POTABLE or DRINKING WATER must be in plain site on the container.

b.  The container must be emptied and cleaned of rust or any foreign matter.

c.  All ports,  speckets,  drain plugs, and field connectors must be covered or caped.

d.  All seals to the field ports must be serviceable.

e.  Containers must be inspected by 91S’s or 92W personnel prior to initial issue.

Water issue for non-consumptive uses

a.  The container will be labeled in plain site NON- POTABLE OR NON-DRINKING WATER.

b.  Container must be purged of any petroleum products

c.  Product hoses will not be directly  connected to the  container it will be filled through the field  port at the top of mobile containers.

d.  Water will not be used for consumption.

7.  CHEMICAL STORAGE AND USAGE:  Storage of all chemicals used in the purification process is governed under the 49 CFR and all other HAZMAT related doctrine.  Chemicals will be stored no less than 50 FT down wind of water sites and by compatibility with other chemicals.  The chemicals will have secondary containment.  If at all possible they should be enclosed, if not possible they should be at least covered from the weather.  The usage of chemicals is governed by TM 10-4610-241-10.

All proper gear will be used when handling chemicals:  Eye Wear, Rubber Apron, and Rubber Gloves.  A can of water will be on site for the use of washing any chemicals away from eyes if an accident should occur.

8.  RESUPPLY:  ALL  CLASS IX items will be ordered 90 days prior to being depleted on site.

9.  NCO RESPONSIBILITY:  The Senior 92W or the NCOIC on site is responsible for the water quality, customer satisfaction, production productivity, and turn-in of the proper water reports to the higher authority.

10.  The POC for this memorandum is SSG Williams.

LESLIE R. WILLIAMS

SSG, USA

Water Treatment Supervisor